# SOP_002: Isolating Monoclonal Cell Populations

Standard Operating Procedure for Limiting Dilution Cloning | isabel.quintanilla@nih.gov, gianluca.pegoraro@nih.gov

Isabel Quintanilla

January 13, 2026

## 1 Purpose and Scope

### 1.1 Objective

To isolate monoclonal cell populations from a heterogeneous cell pool using limiting dilution methodology, enabling selection of optimal clones for downstream applications including CRISPR screening.

### 1.2 Scope

This protocol covers the complete workflow from conditioned medium preparation through single-cell seeding, colony identification, expansion, and validation of monoclonality.

### 1.3 Prerequisites

Stable cell pool requiring clonal isolation

Basic cell culture training

Experience with microscopy for colony identification

Understanding of clonal selection criteria

## 2 Materials and Equipment

### 2.1 Equipment Required

CO₂ incubator (37°C, 5% CO₂)

Inverted microscope

Hemocytometer or automated cell counter

Centrifuge

Pipettes and sterile tips

0.45 µm filters or 40 µm cell strainers

### 2.2 Reagents and Consumables

| Reagent/Item | Supplier | Catalog # | Storage | Notes |
| --- | --- | --- | --- | --- |
| 96-well TC plates | Corning | 3596 | RT | Flat bottom |
| 10 cm TC plates | Corning | 430167 | RT | For conditioned medium |
| Complete media | - | - | 4°C | Cell line specific |
| PBS sterile | Various | - | RT | For cell washing |
| Trypsin-EDTA | ThermoFisher | 25200056 | -20°C | For cell harvest |
| 0.45 µm filter | Various | - | RT | Sterile, low protein binding |
| 40 µm cell strainer | Corning | 352340 | RT | For single cell preparation |

## 3 Procedure

### 3.1 Timeline Overview

Day 0 (Optional): Seed cells for conditioned medium generation

Day 1: Prepare conditioned medium, seed single cells

Days 2-14: Monitor growth, identify single colonies

Days 14-30: Expand and analyze monoclonal lines

### 3.2 Day 0: Conditioned Medium Preparation (Optional)

Time Required: 30 minutes Temperature: 37°C

Cell Seeding for Conditioned Medium Seed stable cells at 50-60% confluency for next day Use 10 mL complete media per 10 cm dish Each 10 cm dish provides conditioned medium for one 96-well plate ⚠️ Critical Point: Use cells from the same stable pool being cloned

### 3.3 Day 1: Conditioned Medium Collection

Time Required: 1 hour Temperature: Room temperature

Medium Collection Allow cells to grow overnight to approximately 60-70% confluence Collect used (conditioned) medium from cells Replace with fresh medium on donor cells

Medium Processing Remove any cells from conditioned medium by: Filtration through 0.45 µm filter, OR Centrifugation at >500×g for 5 minutes ⚠️ Critical Point: Do not use medium if cells are overly confluent or medium is acidified Store at 4°C until use (use same day)

### 3.4 Day 1: Single Cell Preparation and Seeding

Time Required: 2 hours Temperature: Room temperature

Cell Harvest and Preparation Trypsinize stable cell pool Create single-cell suspension by: Passing several times through serological pipet, OR Passing through 40 µm cell strainer mesh Count cells using hemocytometer or cell counter ✅ Quality Check: Ideal starting concentration <10⁶ cells/mL

Dilution Preparation Prepare cell solution at 5 cells/mL concentration Use conditioned medium (or fresh complete medium if not using conditioned medium) Prepare approximately 10 mL per 96-well plate ⚠️ Critical Point: Accurate cell counting is critical for successful limiting dilution

96-Well Plate Seeding Transfer 100 µL of 5 cells/mL solution to each well This seeds an average of 0.5 cells per well ⚠️ Critical Point: Seeding 0.5 cells/well ensures some wells receive single cells while minimizing wells with multiple cells

Reference Well Seed one corner well with approximately 1000 cells This serves as focus reference for microscopy Clearly mark this well to avoid confusion

Incubation Transfer plate to 37°C, 5% CO₂ incubator Leave undisturbed for 7-14 days ⚠️ Critical Point: Avoid disturbing plate to prevent cross-contamination between wells

### 3.5 Days 7-14: Colony Identification

Time Required: 1-2 hours per plate Temperature: 37°C (incubator)

Initial Screening After approximately 7 days, scan plate for cell growth If no colonies observed, continue incubating Cells will appear as colonies in wells with growth

Monoclonality Assessment Scan entire plate systematically Record wells with single colony Note wells with multiple colonies (non-monoclonal, discard) ✅ Quality Check: True monoclonal wells contain exactly one colony ⚠️ Critical Point: Wells with more than one colony must be discarded

Documentation Create plate map marking: Wells with single colonies (candidates) Wells with multiple colonies (discard) Empty wells Reference well location

### 3.6 Days 14-30: Expansion and Analysis

Time Required: Variable Temperature: 37°C

Colony Expansion Once cells have expanded but before over-confluence: Trypsinize cells from candidate wells Expand to larger culture dishes ⚠️ Critical Point: Prevent cross-contamination between independent clones Maintain proper labeling of all clones

Progressive Expansion Expand from 96-well → 24-well → 12-well → 6-well → T25/T75 Freeze backup stocks at early passages Maintain passage records for each clone

Clone Screening Screen clones for: Transgene expression levels Phenotype of interest Growth characteristics Karyotype stability (if required) ✅ Quality Check: Confirm desired phenotype before proceeding

## 4 Quality Control and Validation

### 4.1 Critical Control Points

CCP 1: Single-cell suspension quality before seeding

CCP 2: Accurate cell concentration (5 cells/mL)

CCP 3: Single colony identification (not multiple colonies)

CCP 4: Prevention of cross-contamination during expansion

### 4.2 Expected Results

Approximately 30-40% of wells with growth (based on Poisson distribution)

Most growing wells should contain single colonies

Wells with multiple colonies: approximately 10% of growing wells

Successful expansion of multiple independent clones

### 4.3 Poisson Distribution Reference

At 0.5 cells/well seeding density:

| Wells per 96-well plate | Expected Result |
| --- | --- |
| ~60 wells | No cells (empty) |
| ~30 wells | 1 cell (monoclonal candidates) |
| ~5-6 wells | 2+ cells (discard) |

### 4.4 Documentation Requirements

Record source cell pool identity and passage

Document seeding density and date

Create plate map with colony locations

Track clone identities through expansion

Record screening results for each clone

## 5 Troubleshooting

| Problem | Possible Cause | Solution | Prevention |
| --- | --- | --- | --- |
| No colony growth | Cell death, low viability | Use conditioned medium, check cell health | Verify cell viability before seeding |
| Too many wells with growth | Cell concentration too high | Recount and adjust concentration | Use accurate counting method |
| Too few wells with growth | Cell concentration too low | Increase seeding density | Verify cell counter accuracy |
| Multiple colonies per well | Clumps not dispersed | Improve single-cell preparation | Use cell strainer, pipette thoroughly |
| Contamination | Poor sterile technique | Discard affected plates | Strict aseptic technique |
| Slow growth | Poor medium conditions | Use fresh conditioned medium | Prepare fresh medium |
| Loss of phenotype | Genetic drift | Freeze early, limit passages | Use early passage cells |

## 6 References and Related Documents

### 6.1 Related SOPs

SOP_001: Generation of iCas9 with PiggyBAC

SOP_006: Cas9 Efficiency Measurement

SOP_007: Generation of Cell Libraries for OPS

### 6.2 Literature References

Freshney, R.I. Culture of Animal Cells: A Manual of Basic Technique. Wiley-Liss.

Single-cell cloning methodologies and best practices.

## 7 Appendices

### 7.1 Seeding Density Calculations

Standard limiting dilution:

Target: 0.5 cells per well

Well volume: 100 µL

Required concentration: 5 cells/mL

Example calculation:

Starting cell count: 1 × 10⁶ cells/mL

Dilution needed: 200,000-fold

For 10 mL final: Add 0.05 µL cells to 10 mL medium

Practical approach: Serial dilution recommended

Serial dilution protocol:

Dilute 1 × 10⁶ cells/mL → 1 × 10⁴ cells/mL (1:100)

Dilute 1 × 10⁴ cells/mL → 100 cells/mL (1:100)

Dilute 100 cells/mL → 5 cells/mL (1:20)

### 7.2 Plate Mapping Template

### 7.3 Clone Tracking Sheet

| Clone ID | Source Well | Expansion Date | Current Passage | Phenotype Confirmed | Notes |
| --- | --- | --- | --- | --- | --- |
| Clone 1 | B4 |  |  |  |  |
| Clone 2 | C7 |  |  |  |  |
| Clone 3 | E2 |  |  |  |  |