# SOP_004: Lentivirus Titration

Standard Operating Procedure for Determining Lentiviral Titer | isabel.quintanilla@nih.gov, gianluca.pegoraro@nih.gov

Isabel Quintanilla

January 13, 2026

## 1 Purpose and Scope

### 1.1 Objective

To determine the functional titer of lentiviral preparations using spinfection methodology and antibiotic selection, enabling accurate MOI calculations for downstream transduction experiments.

### 1.2 Scope

This protocol covers viral titration using spinfection, cell survival-based MOI determination, and viral titer calculation for CRISPR library transduction applications.

### 1.3 Prerequisites

Lentiviral preparation (SOP_003)

Cas9-expressing target cell line

Established kill curve for selection antibiotic

BSL-2 training and certification

Understanding of MOI calculations

## 2 Materials and Equipment

### 2.1 Equipment Required

Centrifuge with plate carriers (capable of 930×g at 33°C)

CO₂ incubator (37°C, 5% CO₂)

Cell culture hood (BSL-2 certified)

Hemocytometer or automated cell counter

Inverted microscope

### 2.2 Reagents and Consumables

| Reagent/Item | Supplier | Catalog # | Storage | Notes |
| --- | --- | --- | --- | --- |
| Lentivirus aliquot | SOP_003 | - | -80°C | Thaw at RT |
| Polybrene | Sigma-Aldrich | H9268 | 4°C | 4-8 µg/mL working |
| Complete media | - | - | 4°C | Cell line specific |
| Selection antibiotic | Various | - | -20°C | Cell line specific |
| 12-well plates | Corning | 3513 | RT |  |
| PBS sterile | Various | - | RT |  |
| Trypsin-EDTA | ThermoFisher | 25200056 | -20°C |  |

## 3 Reagent Preparation

### 3.1 Polybrene Working Solution

Stock: 10 mg/mL Working concentration: 4-8 µg/mL (optimize for cell line)

| Component | Volume | Notes |
| --- | --- | --- |
| Complete media | 50 mL | Pre-warmed |
| Polybrene (10 mg/mL) | 20-40 µL | For 4-8 µg/mL final |

### 3.2 Viral Dilution Series

Total viral volume per well after dilution: 1 µL equivalent

| Dilution | Virus Volume | Media Volume | Total Volume | Final Virus per Well |
| --- | --- | --- | --- | --- |
| 1/20 | 1 µL | 19 µL | 20 µL | 1 µL of 1/20 dilution |
| 1/10 | 1 µL | 9 µL | 10 µL | 1 µL of 1/10 dilution |
| 1/5 | 1 µL | 4 µL | 5 µL | 1 µL of 1/5 dilution |
| 1/2 | 1 µL | 1 µL | 2 µL | 1 µL of 1/2 dilution |
| Undiluted | 1 µL | 0 µL | 1 µL | 1 µL |
| 2× | 2 µL | 0 µL | 2 µL | 2 µL |

## 4 Procedure

Work in BSL-2 certified biosafety cabinet

Wear double nitrile gloves and face mask when handling virus

Decontaminate all materials with 10% bleach before disposal

Viral spill: Absorb with paper towels, apply 10% bleach for 30 minutes

### 4.1 Day 1: Setup and Spinfection

Time Required: 4-5 hours Temperature: 33°C for spinfection, 37°C for culture

Virus Preparation Thaw lentiviral aliquot at room temperature ⚠️ Critical Point: Keep virus on ice once thawed, use within 4 hours

Cell Preparation Trypsinize and count Cas9-expressing target cells ✅ Quality Check: Verify >95% viability

Plate Setup Seed cells into 4-6 wells of a 12-well plate Use 1 mL polybrene-containing media per well Target 90-95% confluency immediately after spinfection Add additional 1 mL polybrene-containing media (2 mL total per well) Include one well without virus as untransduced control

Viral Dilution Preparation Prepare serial dilutions according to dilution table Work quickly on ice ⚠️ Critical Point: Minimize virus exposure to room temperature

Virus Addition Add serial dilutions/amounts of lentivirus to separate wells: Well 1: 1 µL of 1/20 dilution Well 2: 1 µL of 1/10 dilution Well 3: 1 µL of 1/5 dilution Well 4: 1 µL of 1/2 dilution Well 5: 1 µL undiluted Well 6: 2 µL undiluted Mix thoroughly by pipetting ⚠️ Critical Point: Include untransduced control well

Spinfection Centrifuge plates at 930×g for 2 hours at 33°C ⚠️ Safety Note: Ensure plates are properly balanced

Post-Spinfection After centrifugation, add 2 mL polybrene-free fresh media Transfer to 37°C, 5% CO₂ incubator

### 4.2 Day 2: Cell Splitting and Selection

Time Required: 1-2 hours Temperature: 37°C

Cell Splitting 24 hours post-spinfection, trypsinize cells from each well Split each condition into two wells of a new 12-well plate: High density: 1/4 of cells (for +antibiotic selection) Low density: 1/40 of cells (for -antibiotic control) Add fresh media to both densities

Antibiotic Selection Add selection antibiotic only to higher density (1/4) wells Leave lower density (1/40) wells without antibiotic ✅ Quality Check: Ensure untransduced control receives antibiotic

### 4.3 Days 3-5: Selection Monitoring

Time Required: 15-30 minutes daily Temperature: 37°C

Daily Monitoring Monitor untransduced control well daily Observe cell death progression in control ⚠️ Critical Point: Complete cell death in control indicates effective selection Typical timeline: 2-3 days for puromycin selection

### 4.4 Days 5-7: Cell Counting and Calculations

Time Required: 2-3 hours Temperature: Room temperature

Final Cell Counting After complete death of untransduced control: Trypsinize cells from all wells Count viable cells in both conditions for each virus dilution: Count from 1/4 density wells (+antibiotic) Count from 1/40 density wells (-antibiotic) Record all counts for calculations

MOI Calculation For each viral dilution condition, calculate MOI: MOI = 0.1 × (Cell count from 1/4 density with antibiotic) / 
          (Cell count from 1/40 density without antibiotic) ⚠️ Critical Point: The 0.1 factor accounts for the 10-fold difference in seeding density

Viral Titer Calculation Calculate viral titer from MOI: Viral Titer (TU/µL) = (Total input cells × MOI) / Virus volume (µL) ⚠️ Critical Point: Use average titer from MOI conditions around 0.2-0.3 for most accurate results

## 5 Quality Control and Validation

### 5.1 Critical Control Points

CCP 1: Cell viability >95% before transduction

CCP 2: Complete untransduced control death during selection

CCP 3: MOI values between 0.05-0.3 for accurate titration

CCP 4: Consistent MOI calculations across dilutions (±20%)

### 5.2 Expected Results

Clear dose-dependent transduction efficiency

Complete death of untransduced controls within 2-3 days

MOI values in linear range (0.05-0.3)

Consistent titer calculations from multiple dilution points

### 5.3 Acceptance Criteria

MOI calculations consistent between dilutions (±20%)

Untransduced control completely dead

Titer within expected range for production method (~10⁶ TU/mL for concentrated virus)

### 5.4 Documentation Requirements

Record all cell counts

Document viral dilutions used

Calculate and record MOI for each condition

Average titer from valid MOI conditions

## 6 Troubleshooting

| Problem | Possible Cause | Solution | Prevention |
| --- | --- | --- | --- |
| No transduction | Degraded virus | Use fresh viral aliquot | Proper -80°C storage |
| Low titer | Poor spinfection | Check centrifuge temperature and speed | Calibrate equipment |
| Incomplete selection | Antibiotic too low | Increase concentration | Establish proper kill curve |
| Variable MOI values | Uneven cell seeding | Improve cell counting | Use automated counter |
| Cell toxicity | Polybrene too high | Reduce polybrene concentration | Optimize for cell line |
| Inconsistent counts | Cell clumping | Improve single-cell suspension | Thorough trypsinization |

## 7 References and Related Documents

### 7.1 Related SOPs

SOP_003: Lentivirus Production

SOP_005: Lentivirus Transduction

SOP_007: Generation of Cell Libraries for OPS

### 7.2 Literature References

Tiscornia, G. et al. Production and purification of lentiviral vectors. Nat Protoc. 2006.

O’Doherty, U. et al. Human immunodeficiency virus type 1 spinoculation enhances infection. J Virol. 2000.

## 8 Appendices

### 8.1 MOI and Titer Calculation Examples

Example Calculation:

Given: - Input cells: 100,000 per well - Surviving cells (+antibiotic, 1/4 density): 20,000 - Total cells (-antibiotic, 1/40 density): 80,000 - Virus volume: 1 µL

Step 1: Calculate MOI

Step 2: Calculate Viral Titer

### 8.2 Optimal MOI Range

| MOI | Interpretation | Action |
| --- | --- | --- |
| <0.05 | Too low, few transduced cells | Use higher virus concentration |
| 0.05-0.1 | Low end of valid range | Acceptable for calculation |
| 0.1-0.3 | Optimal range | Best for accurate titer calculation |
| 0.3-0.5 | High end of valid range | Acceptable, consider lower dilutions |
| >0.5 | Too high, multiple integrations | Use lower virus concentration |

### 8.3 Data Recording Sheet

| Dilution | Virus Vol. | +AB Count (1/4) | -AB Count (1/40) | MOI | Titer (TU/µL) |
| --- | --- | --- | --- | --- | --- |
| 1/20 | 1 µL |  |  |  |  |
| 1/10 | 1 µL |  |  |  |  |
| 1/5 | 1 µL |  |  |  |  |
| 1/2 | 1 µL |  |  |  |  |
| Undiluted | 1 µL |  |  |  |  |
| 2× | 2 µL |  |  |  |  |

Average Titer (from MOI 0.1-0.3): _____________ TU/µL