# SOP_006: Cas9 Efficiency Measurement

Standard Operating Procedure for Validating Inducible Cas9 Activity | isabel.quintanilla@nih.gov, gianluca.pegoraro@nih.gov

Isabel Quintanilla

January 13, 2026

## 1 Purpose and Scope

### 1.1 Objective

To measure and validate the cutting efficiency of inducible Cas9 (iCas9) cell lines using EGFP reporter-based systems, enabling selection of optimal clones for downstream CRISPR screening applications.

### 1.2 Scope

This protocol applies to iCas9 cell lines containing integrated reporter constructs (such as pXPR-011 with EGFP-targeting sgRNA) and covers doxycycline titration, Cas9 induction, and fluorescence-based efficiency measurement.

### 1.3 Prerequisites

iCas9 cell line generated (SOP_001)

Reporter construct integrated (e.g., pXPR-011 with EGFP and targeting sgRNA)

Access to FACS or fluorescence microscopy

Understanding of doxycycline-inducible systems

## 2 Materials and Equipment

### 2.1 Equipment Required

Flow cytometer (FACS) or fluorescence microscope

CO₂ incubator (37°C, 5% CO₂)

Inverted microscope for cell monitoring

Pipettes and sterile tips

Multi-well culture plates

### 2.2 Reagents and Consumables

| Reagent/Item | Supplier | Catalog # | Storage | Notes |
| --- | --- | --- | --- | --- |
| Doxycycline hyclate | Sigma-Aldrich | D9891 | -20°C | Light sensitive |
| Complete media | - | - | 4°C | Cell line specific |
| PBS sterile | Various | - | RT | For washes |
| Trypsin-EDTA | ThermoFisher | 25200056 | -20°C | For cell harvest |
| FACS buffer | - | - | 4°C | PBS + 2% FBS |

## 3 Reagent Preparation

### 3.1 Doxycycline Stock Solution

Final Concentration: 1 mg/mL (1000 µg/mL) Storage: -20°C, protect from light Shelf Life: 6 months at -20°C

| Component | Amount | Notes |
| --- | --- | --- |
| Doxycycline hyclate | 10 mg | Weigh accurately |
| Sterile water | 10 mL | Filter sterilize final solution |

Preparation Steps:

Dissolve doxycycline in sterile water

Filter sterilize through 0.22 µm filter

Aliquot to avoid repeated freeze-thaw

Store protected from light at -20°C

### 3.2 Doxycycline Working Concentrations

| Final Conc. (µg/mL) | Stock Vol. (µL) | Media Vol. (mL) |
| --- | --- | --- |
| 0.05 | 0.5 | 10 |
| 0.1 | 1 | 10 |
| 0.5 | 5 | 10 |
| 1.0 | 10 | 10 |
| 1.5 | 15 | 10 |
| 2.0 | 20 | 10 |

## 4 Procedure

### 4.1 Day 0: Cell Seeding

Time Required: 30 minutes Temperature: 37°C

Cell Preparation Seed iCas9-pXPR-011 cells at appropriate density for 48-hour growth Plate in multi-well format for testing multiple doxycycline concentrations Include untreated control wells ✅ Quality Check: Verify uniform seeding and EGFP expression

### 4.2 Day 1: Doxycycline Treatment

Time Required: 1 hour Temperature: 37°C

Concentration Series Preparation Prepare media with doxycycline at multiple concentrations: 0.05 µg/mL 0.1 µg/mL 0.5 µg/mL 1.0 µg/mL 1.5 µg/mL 2.0 µg/mL Include untreated control (0 µg/mL) ⚠️ Critical Point: Test different concentrations to determine lowest effective dose

Doxycycline Application Remove existing media from cells Add doxycycline-containing media to appropriate wells Add fresh media without doxycycline to control wells Return to incubator for 48 hours

### 4.3 Day 3: Doxycycline Washout

Time Required: 30 minutes Temperature: 37°C

Wash Protocol Perform 5× PBS washes to remove doxycycline ⚠️ Critical Point: Thorough washing ensures complete doxycycline removal Add fresh complete media without doxycycline

### 4.4 Days 3-7: Incubation Period

Time Required: 72-96 hours Temperature: 37°C

Monitoring Incubate cells for 72-96 hours post-washout Allow time for Cas9-mediated EGFP knockout to manifest Monitor cell health and confluence ✅ Quality Check: Cells should remain healthy during incubation

### 4.5 Day 6-7: Efficiency Measurement

Time Required: 2-4 hours Temperature: Room temperature for analysis

Sample Preparation (for FACS) Trypsinize cells from each condition Resuspend in FACS buffer (PBS + 2% FBS) Keep on ice until analysis Filter through cell strainer if clumping observed

Fluorescence Analysis Option A: FACS Analysis Analyze EGFP fluorescence intensity Compare treated samples to untreated control Calculate percentage of EGFP-negative cells Gate on live cells based on FSC/SSC Option B: Fluorescence Microscopy Image cells in multiple fields per condition Quantify EGFP-positive vs EGFP-negative cells Compare to untreated control

Efficiency Calculation Calculate Cas9 cutting efficiency: Efficiency (%) = [(Control EGFP+) - (Treated EGFP+)] / (Control EGFP+) × 100 ✅ Quality Check: Expect significant EGFP reduction in induced samples

### 4.6 Clone Selection

Optimal Clone Identification Compare efficiency across all tested clones Select clonal cell line with highest Cas9 cutting efficiency Consider both efficiency and cell health at each doxycycline concentration ⚠️ Critical Point: Choose lowest effective doxycycline concentration to minimize toxicity

## 5 Quality Control and Validation

### 5.1 Critical Control Points

CCP 1: Complete doxycycline washout (5× PBS washes)

CCP 2: Sufficient incubation time post-washout (72-96 hours)

CCP 3: Proper gating on live cells for FACS analysis

CCP 4: Inclusion of untreated control for baseline EGFP levels

### 5.2 Expected Results

Untreated control: High EGFP signal (baseline)

Low doxycycline: Partial EGFP reduction

Optimal doxycycline: Significant EGFP reduction (>70-90%)

Dose-response relationship across concentration range

### 5.3 Acceptance Criteria

Cas9 cutting efficiency >70% at optimal doxycycline concentration

No significant toxicity at working doxycycline concentration

Clear dose-response relationship

### 5.4 Documentation Requirements

Record doxycycline concentrations tested

Document FACS gating strategy

Save raw fluorescence data

Calculate and record efficiency for each condition

## 6 Troubleshooting

| Problem | Possible Cause | Solution | Prevention |
| --- | --- | --- | --- |
| No EGFP reduction | Cas9 not expressed | Verify Cas9 induction by western blot | Confirm iCas9 integration |
| Low efficiency | Suboptimal doxycycline | Test higher concentrations | Optimize doxycycline titration |
| Cell toxicity | Doxycycline too high | Reduce concentration | Use lowest effective dose |
| Variable results | Incomplete washout | Increase wash number | Perform thorough washes |
| Background cutting | Leaky expression | Select tighter clones | Screen multiple clones |
| Poor FACS signal | Weak EGFP expression | Verify reporter integrity | Confirm pXPR-011 integration |

## 7 References and Related Documents

### 7.1 Related SOPs

SOP_001: Generation of iCas9 with PiggyBAC

SOP_002: Isolating Monoclonal Cell Populations

SOP_007: Generation of Cell Libraries for OPS

### 7.2 Reporter Systems

pXPR-011: EGFP reporter with targeting sgRNA (Broad Institute)

Alternative reporter systems may be substituted

### 7.3 Literature References

Doench, J.G. et al. Optimized sgRNA design to maximize activity. Nat Biotechnol. 2016.

Sanson, K.R. et al. Optimized libraries for CRISPR-Cas9 genetic screens. Nat Commun. 2018.

## 8 Appendices

### 8.1 FACS Gating Strategy

Live cell gate: FSC-A vs SSC-A to exclude debris

Singlet gate: FSC-A vs FSC-H to exclude doublets

EGFP gate: FITC channel histogram, compare to untreated control

### 8.2 Doxycycline Concentration Optimization

Recommended starting concentrations to test:

| Concentration | Expected Effect |
| --- | --- |
| 0 µg/mL | Baseline (no induction) |
| 0.05 µg/mL | Minimal induction |
| 0.1 µg/mL | Low induction |
| 0.5 µg/mL | Moderate induction |
| 1.0 µg/mL | High induction |
| 1.5-2.0 µg/mL | Maximum induction |

⚠️ Note: Optimal concentration varies by cell type; always test a range.

### 8.3 Sample Data Recording Sheet

| Clone | Dox (µg/mL) | % EGFP+ (Control) | % EGFP+ (Treated) | Efficiency (%) | Notes |
| --- | --- | --- | --- | --- | --- |
| Clone 1 | 0.5 |  |  |  |  |
| Clone 1 | 1.0 |  |  |  |  |
| Clone 2 | 0.5 |  |  |  |  |
| Clone 2 | 1.0 |  |  |  |  |