# SOP_007: Generation of Cell Libraries for OPS

Standard Operating Procedure for Lentiviral Transduction and Library Creation | isabel.quintanilla@nih.gov, gianluca.pegoraro@nih.gov

Isabel Quintanilla

January 13, 2026

## 1 Purpose and Scope

### 1.1 Objective

To generate CRISPR pooled cell libraries for Optical Pooled Screening (OPS) through lentiviral transduction using spinfection methodology, including viral titration and library generation with proper representation.

### 1.2 Scope

This protocol covers viral titration using spinfection, MOI determination, and generation of CRISPR pooled cell libraries with maintained sgRNA representation for downstream OPS applications.

### 1.3 Prerequisites

Cas9-expressing cells at appropriate density

Lentiviral CRISPR library (frozen aliquot)

Cell culture training and sterile technique

Centrifugation safety training

Lentivirus handling certification

Knowledge of MOI calculations

## 2 Materials and Equipment

### 2.1 Equipment Required

Centrifuge capable of 930g with plate carriers and capable of reaching 33°C

37°C incubators with CO₂ control

Cell culture hood (BSL-2 certified)

Hemocytometer or automated cell counter

12-well tissue culture plates

T75 and T225 tissue culture flasks

Pipettes and sterile tips

### 2.2 Reagents and Consumables

| Reagent/Item | Supplier | Catalog # | Storage | Working Concentration |
| --- | --- | --- | --- | --- |
| Lentiviral CRISPR library | [Custom] | - | -80°C | Variable |
| Polybrene | Sigma-Aldrich | H9268 | 4°C | 4-8 μg/mL |
| Cell culture media | [Specific to cell line] | - | 4°C | - |
| Trypsin-EDTA | ThermoFisher | 25200056 | -20°C | 0.25% |
| Puromycin | ThermoFisher | A1113803 | -20°C | 2 μg/mL (Need to check based on cell type) |
| PBS, sterile | Various | - | RT | 1X |
| 12-well plates | Corning | 3513 | RT | - |
| T75 flasks | Corning | 430641U | RT | - |
| T225 flasks | Corning | 431082 | RT | - |

### 2.3 Cell Line Requirements

Cas9-expressing target cell line

Verified antibiotic sensitivity (kill curve established)

Optimal growth conditions characterized

Passage number tracked

## 3 Reagent Preparation

### 3.1 Polybrene Working Solution

Final Volume: 50 mL Storage: 4°C, use within 1 month Final Concentration: 4-8 μg/mL (optimize for cell line)

| Component | Stock Conc. | Final Conc. | Volume | Notes |
| --- | --- | --- | --- | --- |
| Polybrene | 10 mg/mL | 4-8 μg/mL | 20-40 μL | Filter sterilize |
| Cell culture media | - | - | 50 mL | Pre-warmed |

### 3.2 Serial Dilution Series for Titration

Dilutions: 1/20, 1/10, 1/5, 1/2, 1 μL, 2 μL Final virus volume per well: 1 μL

| Dilution | Virus Volume | Media Volume | Final Volume |
| --- | --- | --- | --- |
| 1/20 | 1 μL | 19 μL | 20 μL |
| 1/10 | 1 μL | 9 μL | 10 μL |
| 1/5 | 1 μL | 4 μL | 5 μL |
| 1/2 | 1 μL | 1 μL | 2 μL |
| Undiluted | 1 μL | 0 μL | 1 μL |
| 2X | 2 μL | 0 μL | 2 μL |

## 4 Procedure

Lentivirus is a BSL-2 organism - follow institutional biosafety guidelines

Work in BSL-2 certified biosafety cabinet

Wear double nitrile gloves and face mask when handling virus

Decontaminate all materials with 10% bleach before disposal

Lentivirus spill: Absorb with disinfectant-soaked towels, decontaminate area with 10% bleach

### 4.1 Part A: Viral Titration Using Spinfection

Time Required: 5-7 days Temperature: 33°C for spinfection, 37°C for culture

#### 4.1.1 Day 1: Setup and Spinfection

Virus Preparation Thaw lentiviral library aliquot at room temperature ⚠️ Critical Point: Keep virus on ice once thawed, use within 4 hours

Cell Preparation Trypsinize and count Cas9-expressing cells ✅ Quality Check: Verify >95% viability Calculate cell numbers for 90-95% confluence post-spinfection

Plate Setup Seed cells into 6 wells of 12-well plate (1 mL media + polybrene per well) Add additional 1 mL polybrene-containing media to each well (2 mL total) Include one well without virus as untransduced control

Virus Addition Add serial dilutions of virus to separate wells according to dilution table Mix thoroughly by gentle pipetting (avoid creating bubbles) ⚠️ Critical Point: Work quickly to minimize virus degradation

Spinfection Centrifuge plates at 930g for 2 hours at 33°C ⚠️ Safety Note: Ensure plates are properly balanced and secured After centrifugation, add 2 mL polybrene-free fresh media Transfer to 37°C, 5% CO₂ incubator

#### 4.1.2 Day 2: Split and Selection

Cell Splitting 24 hours post-spinfection, trypsinize cells from each well Split each condition: seed 1/4 and 1/40 of cells into separate wells of new 12-well plate Add fresh media to both densities

Antibiotic Selection Add appropriate antibiotic (e.g., puromycin) only to higher density (1/4) wells ✅ Quality Check: Verify untransduced control receives antibiotic

#### 4.1.3 Day 3-5: Selection and Monitoring

Cell Death Monitoring Monitor untransduced control well daily ⚠️ Critical Point: Complete cell death in control indicates effective selection Typical timeline: 2-3 days for puromycin selection

#### 4.1.4 Day 5-7: Cell Counting and Calculations

Final Counting Count viable cells in both +/- antibiotic conditions for each virus dilution Record counts for MOI calculations

MOI and Titer Calculations (see Appendix 9.1) MOI = 0.1 × (cell count from 1/4 density + antibiotic) / (cell count from 1/40 density - antibiotic) Viral titer = (total input cells × MOI) / virus volume ⚠️ Critical Point: Use average titer from MOI conditions around 0.2-0.3

### 4.2 Part B: Generation of Cell Library

Time Required: 2-3 weeks Library representation: 500-1000× complexity

#### 4.2.1 Week 1: Library Transduction

Target Cell Calculation Determine target transduced cells: 500-1000× library complexity Example: 1,000 sgRNA library × 500× = 500,000 transduced cells required

Transduction Setup Use viral titer from Part A to calculate volumes: Virus volume = (target transduced cells) / (viral titer) Total input cells = (target transduced cells) / (target MOI of 0.05-0.1) Number of wells = (total input cells) / (cells per well at 90-95% confluence)

Spinfection for Library Generation Perform spinfection using conditions from Part A Centrifuge at 930g for 2 hours at 33°C ✅ Quality Check: Ensure proper cell density and mixing

#### 4.2.2 Week 1-2: Selection and Expansion

Initial Selection 24 hours post-spinfection, trypsinize and pool cells Seed in T75 or T225 flask with antibiotic selection ⚠️ Critical Point: Maintain minimum target cell number

Library Expansion Passage cells maintaining proper representation Always keep >target number of transduced cells ✅ Quality Check: Monitor cell morphology and growth rate

#### 4.2.3 Week 2-3: Library Validation

Representation Maintenance Calculate cell numbers at each passage Ensure minimum representation is maintained Document passage history

Pre-OPS Validation Validate sgRNA representation by NGS before OPS use Refer to SOP_008: CRISPR Library Validation

## 5 Quality Control and Validation

### 5.1 Critical Control Points

CCP 1: Cell viability >95% before transduction

CCP 2: Complete untransduced control death during selection

CCP 3: MOI between 0.05-0.3 for library generation

CCP 4: Minimum target cell representation maintained throughout expansion

CCP 5: sgRNA representation validated by NGS before use

### 5.2 Expected Results

Titration: Clear dose-dependent transduction efficiency

Selection: Complete death of untransduced controls within 2-3 days

Library: Uniform cell growth with maintained representation

Validation: Even sgRNA distribution by NGS analysis

### 5.3 Acceptance Criteria

MOI calculations consistent between dilutions (±20%)

Library representation: 500-1000× complexity maintained

Cell viability >90% throughout expansion

NGS validation shows <3-fold variation in sgRNA representation

## 6 Troubleshooting

| Problem | Possible Cause | Solution | Prevention |
| --- | --- | --- | --- |
| Low transduction efficiency | Degraded virus, low polybrene | Use fresh virus, optimize polybrene concentration | Proper virus storage, test polybrene |
| Incomplete selection | Insufficient antibiotic, resistant cells | Increase antibiotic concentration, extend selection | Establish kill curve for cell line |
| Poor cell growth post-selection | Overselection, cell stress | Reduce antibiotic concentration, improve culture conditions | Gentle handling, optimal media |
| Loss of representation | Bottleneck during passage, inadequate cell numbers | Increase passage cell numbers, shorter expansion | Monitor cell counts carefully |
| Inconsistent MOI values | Uneven virus distribution, cell counting errors | Mix thoroughly, use automated counting | Standardize mixing protocol |

## 7 References and Related Documents

### 7.1 Related SOPs

SOP_008: CRISPR Library Validation

SOP_009a: Conventional Library Preparation

SOP_011: Imaging Using Nikon Ti2

### 7.2 Reagent References

OPS_Reagents_Master_List.csv - Complete reagent and pricing information

OPS_Oligonucleotides.csv - Oligonucleotide sequences and specifications

### 7.3 Literature References

Multiplicity of infection determination for lentiviral vectors

CRISPR library design and validation protocols

Spinfection optimization for enhanced transduction

## 8 Appendices

### 8.1 MOI and Viral Titer Calculations

MOI Calculation:

Viral Titer Calculation:

Example Calculation:

Input cells: 100,000

Surviving cells (+antibiotic, 1/4 density): 20,000

Total cells (-antibiotic, 1/40 density): 80,000

Virus volume: 1 μL = 0.001 mL

MOI = 0.1 × (20,000) / (80,000) = 0.025 Viral Titer = (100,000 × 0.025) / 0.001 = 2.5 × 10⁶ TU/mL

### 8.2 Library Representation Calculations

Target Transduced Cells:

Required Input Cells:

Example for 1,000 sgRNA library with 500× representation:

Target transduced cells = 1,000 × 500 = 500,000

At MOI 0.1: Input cells = 500,000 / 0.1 = 5,000,000

Virus volume needed = 500,000 / (2.5 × 10⁶) = 0.2 mL

### 8.3 Cell Density Guidelines

12-well plate seeding densities:

90-95% confluence post-spinfection: ~200,000-300,000 cells/well

Adjust based on cell line doubling time and spinfection timing

Flask capacities:

T75 flask: ~5-10 × 10⁶ cells at confluence

T225 flask: ~15-30 × 10⁶ cells at confluence