# SOP_009b: T7 Library Preparation

Standard Operating Procedure for T7 Polymerase-based OPS Library Preparation | isabel.quintanilla@nih.gov, gianluca.pegoraro@nih.gov

Isabel Quintanilla

January 13, 2026

## 1 Purpose and Scope

### 1.1 Objective

To prepare RNA libraries for Optical Pooled Screening (OPS) using T7 RNA polymerase in vitro transcription (IVT), followed by reverse transcription, padlock probe hybridization, and rolling circle amplification to enable in situ sequencing of cellular transcripts.

### 1.2 Scope

This protocol applies to cultured cells and covers the complete workflow from in vitro transcription through rolling circle amplification, including both commercial T7 HiScribe and non-commercial T7 polymerase options. Phenotyping steps are not included in this protocol, but can be performed either after post-fixation or after the Phi29/RCA amplification.

### 1.3 Prerequisites

Cells cultured to appropriate confluence

Basic cell culture and molecular biology training

RNase-free technique training

Knowledge of RNA handling and degradation prevention

Familiarity with thermocycler operation

## 2 Materials and Equipment

### 2.1 Equipment Required

Thermocycler (flat-top recommended)

37°C incubator

30°C incubator

Fluorescent microscope

Glass bottom plates

Pipettes and RNase-free tips

Fume hood

Ice bucket

### 2.2 Reagents and Consumables

Primary Reagents for T7 IVT and OPS Workflow

| Reagent Name | Supplier | Catalog # | Storage | Final Concentration | Price ($) |
| --- | --- | --- | --- | --- | --- |
| HiScribe T7 High Yield RNA Synthesis Kit | NEB | E2040L | -20°C | 1X | 1044.00 |
| Ribonucleotide Solution Mix (25mM) | NEB | N0466L | -20°C | 10mM | 346.00 |
| HiScribe T7 High Yield DTT Mix (100mM) | NEB | B1222AVIAL | -20°C | 5mM | Special Order |
| HiScribe T7 High Yield RNA Reaction Buffer (10X) | NEB | B2041AVIAL | -20°C | 1X | Special Order |
| RiboLock RNase Inhibitor (40U/μL) | ThermoFisher Scientific | EO0382 | -20°C | 0.4-0.8 U/μL | 262.00 |
| RevertAid H Minus RT (200U/μL) | ThermoFisher Scientific | EP0452 | -20°C | 4.8 U/μL | 499.00 |
| BSA Molecular Biology Grade | NEB | B9000S | -20°C | 0.2 μg/μL | 33.00 |
| dNTP Mix (10mM) | NEB | N0447S | -20°C | 0.25mM | 64.00 |
| LNA Primer (oRT_CROPseq-v2-T7-Hybrid) | IDT | Custom | -20°C | 1 μM | 250.00 |
| Padlock Probe (oPD_CROPseq-v2-T7-Hybrid) | IDT | Custom | -20°C | 0.1 μM | 200.00 |
| RNase H (5000 U/ml) | Qiagen/Enzymatics | Y9220L | -20°C | 0.4 U/μL | 443.00 |
| Ampligase Enzyme and Buffer | Lucigen/Epicentre | A0102K | -20°C | 0.5 U/μL | 269.00 |
| TaqIT DNA Polymerase (50000 U/mL) | QIAGEN/Enzymatics | P7620L | -20°C | 0.02 U/μL | 514.00 |
| Phi29 DNA Polymerase (10 U/μL) | ThermoFisher Scientific | EP0094 | -20°C | 1 U/μL | 918.00 |
| Phi29 DNA Polymerase Buffer (10X) | ThermoFisher Scientific | B62 | -20°C | 1X | 20.65 |
| SSC 20X RNase-free | ThermoFisher Scientific | AM9763 | RT | 2X | 85.99 |
| Formamide 100% | Various Suppliers | N/A | RT | 20% | Variable |
| UltraPure DEPC-Treated Water | ThermoFisher Scientific | 750023 | RT | - | 92.50 |

Note: Refer to OPS_T7_Library_Preparation_Reagents.csv for detailed reaction compositions and volumes.

### 2.3 Software Requirements

Thermocycler control software

Microscope control software

Image analysis software (optional)

## 3 Reagent Preparation

### 3.1 T7 In Vitro Transcription Mix (Non-commercial)

Final Volume: 1000 μL (per well of a 6-well plate) Storage: Prepare fresh on ice Shelf Life: Same day use only

| Component | Stock Conc. | Final Conc. | Volume | Notes |
| --- | --- | --- | --- | --- |
| 10X T7 Reaction Buffer | 10X | 1X | 600 μL |  |
| 25mM NTPs | 25mM | 10mM | 2400 μL |  |
| RNase Inhibitor | 40 U/μL | 0.4 U/μL | 60 μL |  |
| 100mM DTT | 100mM | 5mM | 300 μL |  |
| T7 RNA Polymerase | 100X | 1X | 60 μL |  |
| DEPC water | - | - | 2580 μL |  |

### 3.2 T7 HiScribe Mix (Commercial)

Final Volume: 1000 μL (per well of a 6-well plate) Storage: Prepare fresh on ice

| Component | Stock Conc. | Final Conc. | Volume | Notes |
| --- | --- | --- | --- | --- |
| 10X T7 Reaction Buffer | 10X | 1X | 400 μL | From kit |
| 100mM ATP | 100mM | 10mM | 400 μL |  |
| 100mM GTP | 100mM | 10mM | 400 μL |  |
| 100mM UTP | 100mM | 10mM | 400 μL |  |
| 100mM CTP | 100mM | 10mM | 400 μL |  |
| RNase Inhibitor | 40 U/μL | 0.4 U/μL | 40 μL |  |
| 100mM DTT | 100mM | 5mM | 200 μL |  |
| T7 RNA Polymerase | 10X | 1X | 400 μL |  |
| DEPC water | - | - | 1360 μL |  |

### 3.3 In Situ Reverse Transcription Mix

Final Volume: 1000 μL (per well of a 6-well plate) Storage: Prepare fresh on ice

| Component | Stock Conc. | Final Conc. | Volume | Notes |
| --- | --- | --- | --- | --- |
| 5X RT Buffer | 5X | 1X | 800 μL |  |
| RNase Inhibitor | 40 U/μL | 0.8 U/μL | 80 μL |  |
| BSA | 20 μg/μL | 0.2 μg/μL | 40 μL |  |
| dNTPs | 10mM | 0.25 mM | 100 μL |  |
| LNA primer | 100 μM | 1 μM | 40 μL |  |
| Reverse Transcriptase | 200 U/μL | 4.8 U/μL | 96 μL | Add last |
| DEPC water | - | - | 2844 μL |  |

### 3.4 Ligation Mix

Final Volume: 750 μL (per well of a 6-well plate) Storage: Prepare fresh on ice

| Component | Stock Conc. | Final Conc. | Volume | Notes |
| --- | --- | --- | --- | --- |
| 10X Ampligase Buffer | 10X | 1X | 300 μL |  |
| Padlock probes | 2 μM | 0.1 μM | 150 μL |  |
| RNase H | 5 U/μL | 0.4 U/μL | 240 μL |  |
| BSA | 20 μg/μL | 0.2 μg/μL | 30 μL |  |
| TaqIT/KlenTaq | 50 U/μL | 0.02 U/μL | 1.2 μL |  |
| dNTPs (pre-diluted) | 10 μM | 50 nM | 15 μL | Pre-dilute 1:1000 |
| Ampligase | 100 U/μL | 0.5 U/μL | 15 μL |  |
| DEPC water | - | - | 2248.8 μL |  |

### 3.5 Rolling Circle Amplification Mix

Final Volume: 900 μL (per well of a 6-well plate) Storage: Prepare fresh on ice

| Component | Stock Conc. | Final Conc. | Volume | Notes |
| --- | --- | --- | --- | --- |
| 10X Phi29 Buffer | 10X | 1X | 360 μL |  |
| dNTPs | 10mM | 0.25 mM | 90 μL |  |
| BSA | 20 μg/μL | 0.2 μg/μL | 36 μL |  |
| Glycerol | 50% | 5% v/v | 360 μL |  |
| Phi29 DNA Polymerase | 10 U/μL | 1 U/μL | 360 μL | Add last, keep cold |
| DEPC water | - | - | 2394 μL |  |

## 4 Procedure

### 4.1 Sample Preparation

Time Required: 2 hours Temperature: Room temperature

Cell Preparation Ensure cells are at appropriate confluence ✅ Quality Check: Verify cell health under microscope

Initial Fixation Fix cells with 4% PFA for 30 minutes at RT ⚠️ Critical Point: Work in fume hood

Permeabilization Permeabilize with 70% ethanol for 30 minutes at RT, or any other permeabilization procedure according to the desired phenotype staining protocol (e.g. IF) Incubate for 30 minutes at RT for 70% ethanol, or the appropriate amount of time for alternative permeabilization protocol ⚠️ Critical Point: Avoid cell dehydration if using 70% ethanol

Ethanol Removal (if using 70% EtOH permeabilization) Carefully remove ethanol Add and remove PBS-T (0.05% Tween) 6 times Continue until ethanol concentration is below 1%

PBS Washes Wash with PBS-T three times

### 4.2 Phenotyping (Optional)

Time Required: Variable Temperature: Room temperature

Phenotyping Protocol Perform desired immunofluorescence or other phenotyping protocols Follow manufacturer’s instructions for specific antibodies or dyes ⚠️ Critical Point: Ensure compatibility with subsequent steps

### 4.3 Heat Decrosslinking

Time Required: 4-24 hours Temperature: 65°C

Ethanol Permeabilization (if not previously performed) Permeabilize cells with 70% EtOH for 30 minutes at RT ⚠️ Critical Point: Skip to step 9. if already performed in step 3

Ethanol Removal Carefully remove ethanol Add and remove PBS-T (0.05% Tween) 6 times Continue until ethanol concentration is below 1% to avoid dehydration

Pre-decrosslinking Washing Wash with PBS-T three times, quick washes

Heat Decrosslinking Apply decrosslinking buffer to cells Incubate at 65°C for 4 hours (cell culture) to 24 hours (tissue) ⚠️ Critical Point: Longer incubation times may be needed for tissue samples

Decrosslinking Buffer Preparation (10 mL):

8.4 mL H₂O

600 μL 5M NaCl

1000 μL 1M Sodium Bicarbonate (pH 8.5)

Post-decrosslinking Washing Wash with PBS-T three times, quick washes

### 4.4 In Vitro Transcription (IVT)

Time Required: 2-4 hours Temperature: 37°C

IVT Mix Application Choose either non-commercial or T7 HiScribe mix Apply 1000 μL per well ⚠️ Critical Point: Keep T7 polymerase cold until use

IVT Incubation Incubate at 37°C overnight ✅ Quality Check: RNA should be synthesized during this step

Post-IVT Washing Wash with 1X PBS-T three times, quick washes

### 4.5 In Situ Reverse Transcription

Time Required: 6-16 hours Temperature: 37°C

RT Mix Application RT primer crosslinking: hybridize amine-modified primer at 1 uM in PBST for 30min at RT. Wash with PBS-T (x2). Fix cells with 3.2% PFA + 0.1% glutaraldehyde in PBS for 30min at RT. Quench previous reaction by adding equivolume of 0.2M Tris-HCl (pH 8) to a final concentration of 100mM followed by 3x PBST washes. Apply RT mix per well ⚠️ Critical Point: Ensure complete cell coverage

RT Incubation Fill empty wells and space in between the wells with RNase-free water to minimize evaporation Cover with aluminum foil microseal Incubate at 37°C overnight (minimum 6 hours)

Post-RT Washing and Post-fixation Wash with 1X PBS-T three times, quick washes Apply post-fixation solution (3.2% PFA + 0.1% Glutaraldehyde) Incubate for 30 minutes at RT Wash with 1X PBS-T six times, quick washes ⚠️ Critical Point: Complete dNTP removal is essential

### 4.6 mRNA Degradation and Ligation

Time Required: 2 hours Temperature: 37°C then 45°C

Ligation Mix Application Apply 750 μL of ligation mix per well ⚠️ Critical Point: dNTP concentration 1000x lower than RT reaction

Thermocycling 5 minutes at 37°C 90 minutes at 45°C ⚠️ Critical Point: Excess dNTPs can inhibit gap-filling reaction

Post-ligation Washing Wash with PBS-T three times, quick washes

### 4.7 Rolling Circle Amplification

Time Required: 16 hours Temperature: 30°C

RCA Mix Application Prepare RCA mix on ice Apply 900 μL per well quickly ⚠️ Critical Point: Phi29 is unstable when diluted. It is also extremely temperature sensitive. Prepare it quickly and keep on ice to avoid loss of enzymatic activity.

RCA Incubation Fill empty wells and space in between the wells with RNase-free water to minimize evaporation Incubate at 30°C overnight

Final Washing Wash with PBS-T three times, quick washes

### 4.8 Optional Quality Check

Time Required: 20 minutes Temperature: Room temperature

DNA-FISH Stain sample in DNA-FISH with fluorescently labelled sequencing primer oSBS_CROPseq-v2 (Cy5) to look for Phi29 amplification products (bright punctate signals)

DAPI Application Apply DAPI solution in 1X PBS (1:4000) for 20 minutes Leave wells with 1X PBS until imaging

## 5 Quality Control and Validation

### 5.1 Critical Control Points

CCP 1: T7 polymerase activity and RNA synthesis efficiency

CCP 2: RT primer crosslinking effectiveness

CCP 3: Complete dNTP removal after RT

CCP 4: Ligation efficiency at correct temperature

CCP 5: Phi29 polymerase stability during RCA

CCP 6: Visible amplification products after RCA

### 5.2 Expected Results

RNA should be synthesized during IVT step

cDNA should be synthesized during RT step

Post-fixation should cross-link cDNA to proteins

RCA should produce bright punctate signals

DAPI should show nuclei if staining is performed

### 5.3 RNA Quality Control

RNA integrity: Check for degradation during IVT

RNase contamination: Monitor for unexpected RNA loss

Temperature control: Verify incubation temperatures

Enzyme activity: Confirm T7 polymerase and RT activity

## 6 Troubleshooting

| Problem | Possible Cause | Solution | Prevention |
| --- | --- | --- | --- |
| No RNA synthesis | Inactive T7 polymerase | Use fresh enzyme, check storage | Store at -20°C, minimize freeze-thaw |
| Poor RT efficiency | RNase contamination | Use RNase-free reagents | Maintain RNase-free environment |
| Low ligation efficiency | Incorrect temperature | Verify thermocycler settings | Calibrate thermocycler regularly |
| No RCA amplification | Phi29 degradation | Use fresh enzyme, keep cold | Store properly, prepare mix on ice |
| High background | Incomplete washing | Increase wash steps | Follow wash protocols strictly |
| RNA degradation | RNase contamination | Use RNase inhibitor, RNase-free tips | Maintain sterile technique |

## 7 References and Related Documents

### 7.1 Related SOPs

SOP_009a: Conventional Library Preparation

SOP_010: SBS Illumina Sequencing

SOP_011: Imaging Using Nikon Ti2

### 7.2 Literature References

T7 RNA polymerase in vitro transcription methodology

Reverse transcription optimization for in situ applications

Padlock probe design and ligation protocols

Rolling circle amplification for single-cell applications

## 8 Appendices

### 8.1 Reagent Volume Calculations

Volumes listed in reagent tables are per specified number of samples

Add 10% excess for pipetting losses

Scale volumes proportionally for different sample numbers

### 8.2 Equipment Settings

Thermocycler: Flat-top preferred, heated lid settings as specified

Incubators: 30°C for RCA, 37°C for IVT and RT

Microscope: Appropriate filters for fluorescent detection

### 8.3 Commercial vs Non-commercial T7 Options

T7 HiScribe: More convenient, optimized components

Non-commercial: More economical, requires separate components

Both options provide similar results when properly executed