Reverse siRNA/sgRNA Transfection Protocol for Users (ThermoFisher Multidrop Combi)

Authors: Laurent Ozbun and Gianluca Pegoraro

Date: 08/14/2021

Revision: 3

This protocol is used at HiTIF for functional genomics screens that use siRNA/sgRNA oligos spotted and dried on the bottom 384-well imaging assay plates. The protocol assumes that the barcoded imaging assay plates were previously spotted with the appropriate amount of siRNA/sgRNA in all columns, dried and stored at -30 0C.

Equipment used:

- Labcyte ECHO525 acoustic dispenser (Room D304)

- ThermoFisher Multidrop Combi dispenser (Room D304, cell culture hood)

- ThermoFisher Standard tube dispensing cassette (Cat# 24072671)

- 384-well LDV plate (Source)

  - Echo Qualified 384-Well Low Dead Volume Plus Microplate (Beckman, Cat# LPL-0200)

- 384-well imaging plate (Destination)

  - Perkin Elmer, CellCarrier-384 ultra +LID, Cat# 6057308

- BioRad TC20 Automated Cell Counter

Reagents:

- 40 ml of freshly prepared (Same day) 10% Bleach in a 50 ml conical tube

- 2 X 40 ml of sterile water in 2 separate 50 ml conical tubes

- 40 ml of 0.1% Tween 20% in water in a 50 ml conical tube

- 2 x 40 ml of sterile PBS in a 50 ml conical tube

- Medium with 20% FBS.

- Serum-free medium

- Medium for Transfection (You can use OptiMEM or regular medium for your cells): Opti-MEM™ Reduced Serum Medium, GlutaMAX™ Supplement (ThermoFisher Cat# 51985-034)

- RNAiMAX (ThermoFisher, Cat# 13778150) in one or two wells of LDV plate.

Cells:

- Medium: All cells used in HiTIF have grown well using OptiMEM for the cell optimization and reverse transfection protocols.  HiTIF suggests using OptiMEM.

- Count cells using an automated cell counting instrument.  Always use the same instrument for downstream applications.  The HiTIF is equipped with the BioRad TC20 Automated Cell Counter.

- At least 40 ml of cells resuspended in Medium + 20% FBS at the appropriate concentration in a 50 ml conical tube

  - For Reverse Transfection

    - Calculate 15 ml for initial priming, then 10 ml volume for an ENTIRE plate

    - Add 20 ul per well

Tips and Tricks:

- Do NOT run the tubing dry between solution changes. It is our experience that bubbles form at the nozzles and interferes with volume dispensing and sterility.

- Follow the solution sequence as specified with priming volumes.

- Beware of the BLACK cords.  If these wrap around the peristaltic pump wheel, you cannot attach the cassette.  Ensure that these are INSIDE the outer WHEELS. This is a very common problem.

- Submerge the end of the dispensing tubes to the bottom of the tube without touching it with your hands and avoiding it touching other non-sterile surfaces, since you want to you keep the tubing as sterile as possible.

Preliminary Steps:

- Set up the ECHO525 to dispense the appropriate volume of RNAiMAX to each well of your assay plate.

- Prepare the solutions to sterilize the tubing.

- Use the keypad on the Multidrop to have the correct program displayed and ready to go.

Prepare the Multidrop by sterilizing the cassette tubing.

- Wear gloves

- Mount the dispensing cassette on the Multidrop.

- Remember to pull the blue protective shield on the Multidrop all the way forward.

- Connect the drain tube to the aspirator and turn on the vacuum.

- Submerge the aspiration end of the cassette tubes in the bleach tube, all the way to the bottom of the tube.

- Prime the cassette with 20 ml of Bleach

- Prime with 20 ml of water (Tube 1)

- Change the water tube

- Prime with 20 ml of water (Tube 2)

- Prime the cassette with 20 ml of PBS

- Prime the cassette with 20 ml of Serum-free medium

Resuspend the oligo siRNA/sgRNA and complex it with the transfection reagent.

- Add your plate to the stage.

- Remove the plate lid!

- Dispense 20 ul of  Serum-free medium to each well.

- Place the plate lid back onto the plate.

- Process the next plates as needed.

- Use the ECHO to dispense the appropriate volume of RNAiMAX to the wells.

- Incubate at RT for 30 minutes. (With lid on and in the hood).

Harvest cells from your flask(s).

- Centrifuge to pellet cells. (1500 RPM for 5 minutes)

- Resuspend cells in 10 ml  Serum-free medium.

- Conduct a cell count using the Auto Cell Counter.

- Resuspend cells at the appropriate cell density in 40 ml Medium with 20% serum. I generally set up the cells as a dilution:

  - 8 ml FBS

  - X ml Cells

  - Y ml of  Medium with 20% serum.

  - Final volume of 40 ml per Tube. The number of tubes is dependent on the total number of plates you are transfecting.

  - The first 40ml is for priming and the first plate.

  - The next 40 ml are for 3 plates. I do not try to squeeze a 4th plate.

- I always try to have an extra tube of cells, just in case. Some key cell numbers:

  - 600 cells/20 ul per well at 		           3 x 104 cells/ml

  - 1000 cells/20 ul per well at 		5 x 104 cells/ml

  - 1500 cells/20 ul per well at 		7.5 x 104 cells/ml

  - 2000 cells/20 ul per well at 		1 x 105 cells/ml

Add Cells to the Transfection mix

- Gently vortex your cells to mix.

- Prime the cassette with 20 ml of Cells

- ADD YOUR PLATE TO THE STAGE.

- Remove the plate lid!

- Dispense 20 ul of cells to each well.

- Place the plate lid back onto the plate.

- Process the next plate as needed.

- Incubate at RT for 30 minutes. (With lid on and in the hood).

- Incubate at 37oC for 72 hours.

Clean and Disinfect the Multidrop Cassette

- Prime the cassette with 20 ml of PBS

- Prime the cassette with 20 ml of 0.1 Tween 20%

- Prime the cassette with 20 ml of Bleach

- Prime with 20 ml of water

- CHANGE WATER TUBE

- Prime with 20 ml of water

- Slide the Blue shield back

- Put the cassette back in the box

- Write down the estimated total volume used in the experiment (Including all washes)